## Sheet1
Adult Epidural & Lumbar Puncture Trainer
1 | DESCRIPTION
1.1 | Adult task trainer for epidural and lumbar puncture procedure training
1.2 | Supports beginner to advanced skill training
1.3 | Compatible with ultrasound probe-guided needle insertion
2 | TECHNICAL SPECIFICATION
2.1 | Complete Adult Epidural & LP Trainer with the following:
2.1.1 | Epidural and lumbar puncture pads / inserts with component parts
2.1.2 | Fluid containers
2.2 | Anatomy and Features:
2.2.1 | Must be able to palpate the sacrum, iliac crests and lumbar vertebrae from L2-L5
2.2.2 | Must accommodate variations in patient presentation such as increased fat, angle of the spine and size of vertebral spaces
2.2.3 | Must support performing each procedure in the sitting and lateral position
2.2.4 | Ultrasound must render anatomical accurate imagery for performance of the procedure
2.3 | Lumbar puncture and epidural procedures:
2.3.1 | Must be able to feel the needle puncturing the dura
2.3.2 | Must allow the practice of loss of resistance technique
2.3.3 | Must support the collection and measurement of Cerebro-spinal Fluid (CSF)
2.3.4 | Must support administration of local anaesthetic agents
2.3.5 | Must support performing each procedure under ultrasound guidance with appropriate imagery of facet joints
2.4 | Must come with a product user guide
2.5 | Must come in a protective case
Adult Epidural & LP Trainer- Accessories and Consumables
1 | Epidural and lumbar puncture pads / inserts with component parts
2 | Fluid containers
3 | Pump assemblies