## Sheet1
Advanced Life Support Manikin: Child/Paediatric (with Intubation and Defibrillation)
1 | DESCRIPTION
1.1 | Peadiatric or child manikin with interchangeable genitalia.
2 | TECHNICAL SPECIFICATION
2.1 | Complete Advanced Life Support Manikin: Child/Paediatric with the following:
2.1.1 | Battery
2.1.2 | IV pads
2.1.3 | arm skin with veins
2.1.4 | airway lubricant
2.1.5 | airway skin
2.1.6 | chest skin
2.1.7 | artificial blood
2.1.8 | talcum powder
2.2 | Breathing:
2.2.1 | Simulated spontaneous breathing
2.2.2 | Observable chest rise
2.2.3 | Variable respiratory rates
2.2.4 | Multiple upper airway sounds synchronized with breathing
2.2.5 | Detect mechanical ventilations (including no ventilations)
2.2.6 | Bag Valve Mask capable
2.2.7 | Normal and abnormal breath sounds
2.2.8 | Oxygen saturation and waveform (Optional Patient Monitor)
2.2.9 | Breathing complications
2.2.10 | Left and right lungs can be either closed or opened to allow ventilations:
2.2.11 | Bilateral chest movement with spontaneous breathing
2.2.12 | Unilateral chest rise with right mainstem intubation
2.2.13 | Unilateral and bilateral breath sounds
2.2.14 | Left and right lungs can be either closed or opened to allow ventilations
2.3 | Airway:
2.3.1 | The airway is anatomically modeled as far as the trachea:
2.3.1.1 | Realistic airway with landmarks
2.3.1.2 | Oral and nasal intubation
2.3.1.3 | LMA or ET insertion
2.3.1.4 | Tongue oedema
2.3.1.5 | NG tube
2.3.1.6 | Cricoid cartilage
2.3.1.7 | Head tilt and jaw thrust (no sensor)
2.4 | Cardiac:
2.4.1 | Defibrillation and cardioversion
2.4.2 | Pacing
2.4.3 | Extensive ECG library
2.4.4 | Multiple heart sounds synchronized with ECG
2.4.5 | ECG rhythm monitoring (3 leads)
2.4.6 | 12 lead ECG display (Optional Patient Monitor)
2.5 | Chest Compressions:
2.5.1 | Compliant with 2015 AHA and ERC Guidelines
2.5.2 | CPR compressions generate palpable carotid pulses, blood pressure waveform, and ECG artifacts
2.5.3 | Detection and logging of a series of compressions in the data log
2.5.4 | Vascular Access:
2.5.4.1 | IV access (right arm and hand)
2.5.4.2 | Intraosseous access (right tibia)
2.6 | Circulation:
2.6.1 | Blood pressure measured manually by auscultation of Korotkoff sounds
2.6.2 | Bilateral carotid and unilateral brachial and radial (left side) pulses synchronized with ECG
2.6.3 | Pulse strength variable with BP
2.6.4 | Pulse palpation is detected and logged
2.7 | Sounds:
2.7.1 | Heart
2.7.2 | Lung
2.7.3 | Bowel
2.7.4 | Patient voice:
2.7.4.1 | Pre-recorded sounds
2.7.4.2 | Wireless microphone
2.8 | Other Features:
2.8.1 | Eyes:
2.8.1.1 | Interchangeable pupils (normal, blown and constricted)
2.8.1.2 | Set of changeable pupils
2.8.1.3 | Automatically dilated pupils (optional)
2.8.2 | Convulsions:
2.8.2.1 | Session Viewer (PC operation)
2.8.3 | Camera recording
2.8.4 | Review event log together with synchronized recording of the patient monitor and in-room video
2.9 | Patient Monitor (Optional):
2.9.1 | Simulates several parameters including:
2.9.1.1 | Heart rate, ECG, SPO2, NIBP, ETCO2
2.9.1.2 | 12 lead ECG display
2.1 | Must come with a product user guide
2.11 | Must come in a protective case
Advanced Life Support Manikin: Child/Paediatric - Accessories and Consumables
1 | Battery
2 | IV pads
3 | arm skin with veins
4 | airway lubricant
5 | airway skin
6 | chest skin
7 | artificial blood
8 | talcum powder