## Sheet1
Advanced Life Support Manikin: Infant (with Intubation and Defribillation)
1 | DESCRIPTION
1.1 | Infant manikin with interchangeable genitalia.
2 | TECHNICAL SPECIFICATION
2.1 | Complete Advanced Life Support Manikin: Infant with the following:
2.1.1 | Battery
2.1.2 | IV pads
2.1.3 | arm skin with veins
2.1.4 | airway lubricant
2.1.5 | airway skin
2.1.6 | chest skin
2.1.7 | artificial blood
2.1.8 | talcum powder
2.1.9 | IO skins
2.1.10 | IO tubes
2.1.11 | lubrication gel
2.2 | Airway:
2.2.1 | Airway opening acquired by head tilt, chin lift and jaw thrust
2.2.2 | Oropharyngeal and nasopharyngeal airways
2.2.3 | Bag-Valve-Mask ventilation Orotracheal and nasotracheal intubation
2.2.4 | Sellick Manoeuvre
2.2.5 | LMA insertion
2.2.6 | Endotracheal tube insertion
2.2.7 | Fiberoptic intubation
2.2.8 | Gastric tube insertion
2.2.9 | Variable lung compliance
2.2.10 | Variable airway resistance
2.2.11 | Tongue edema Laryngospasm
2.2.12 | Pharyngeal swelling Decreased lung compliance
2.2.13 | Right mainstem intubation
2.2.14 | Gastric distention
2.3 | Simulated Patient Monitor:
2.3.1 | Highly configurable patient monitor
2.3.2 | Simulate several parameters including: ECG, SpO2, CO2, ABP, CVP, PAP, NIBP, TOF, and others
2.3.3 | Multimedia capability: Radiology files, Media files, Lab results Touch screen operation Multi-level alarm
2.4 | Pulmonary System:
2.4.1 | Spontaneous breathing with variable rate, depth and regularity
2.4.2 | Bilateral and unilateral chest rise and fall
2.4.3 | Normal and abnormal breath sounds bilateral
2.4.4 | Lung Sounds: Normal, course crackles, fine crackles, stridor, wheezes and rhonchi Oxygen saturation
2.4.5 | See-saw respiration
2.4.6 | Retractions
2.4.7 | Pneumothorax
2.4.8 | Unilateral chest movement
2.4.9 | Unilateral breath sounds
2.4.10 | Unilateral needle thoracentesis mid-clavicular
2.4.11 | Unilateral chest tube insertion
2.5 | Cardiovascular System:
2.5.1 | Extensive ECG library with rate from 20-360 CPR compressions generate palpable pulses, blood pressure waveform, and generate artifacts on ECG
2.5.2 | Heart Sounds: Normal, systolic murmur, holosystolic murmur, diastolic murmur, continuous murmur and gallop Blood pressure (BP) simulated on patient montior
2.5.3 | Pulses: Unilateral brachial pulse and bilateral femoral pulses synchronized with ECG Pulse strength variable with BP
2.5.4 | Display of cardiac rhythms via 4-lead ECG monitoring 12-lead dynamic ECG display
2.5.5 | Defibrillation and cardioversion using live shock with training pads
2.6 | Vascular Access:
2.6.1 | Venous access antecubital fossae, dorsum of the hand and long saphenous vein
2.6.2 | Bilateral IO/IV insertion legs IV bolus and infusion
2.6.3 | Simulated blood flashback upon venous cannulation
2.7 | Software Features:
2.7.1 | Easy to operate software
2.7.2 | Manual control over all parameters
2.7.3 | Scenarios, including Trends and Handlers
2.7.4 | Camera recording enables review event log
2.8 | Other Features:
2.8.1 | Eyes:
2.8.1.1 | Interchangeable pupils (normal, blown and constricted)
2.8.1.2 | Set of changeable pupils
2.8.1.3 | Automatically dilated pupils (optional)
2.8.2 | Fontanel can present as normal, or bulging
2.8.3 | Vocal sounds: Crying, content, coughing, and hiccup
2.8.4 | Capillary refill - Left hand and sternum
2.8.5 | Moving arms: limp, tone, spontaneous motion and seizure
2.8.6 | Seizures: head and arms
2.9 | Must come with a product user guide
2.1 | Must come in a protective case
Advanced Life Support Manikin: Infant - Accessories and Consumables
1 | Battery
2 | IV pads
3 | arm skin with veins
4 | airway lubricant
5 | airway skin
6 | chest skin
7 | artificial blood
8 | talcum powder
9 | IO skins
10 | IO tubes
11 | lubrication gel