## Sheet1
Advanced Life Support Neonate Manikin
1 | DESCRIPTION
1.1 | Advanced Life Support Neonate Manikin is a tetherless newborn simulator designed to help improve neonatal resuscitation and to meet the specific learning objectives of neonatal resuscitation protocols.
2 | TECHNICAL SPECIFICATION
2.1 | Can be controlled by the operator either by using a tablet or PC running software, or using a tablet.
2.1.1 | Allow the operator to run sessions either by using pre-programmed scenarios in Automatic Mode, or Manual Mode.
2.1.2 | Allows vital signs to be displayed on a simulated Patient Monitor (optional).
2.1.3 | Both manikin and the Patient Monitor can be operated wirelessly.
2.2 | Airway Features:
2.2.1 | Anatomically realistic airway
2.2.2 | Nasal and oral ET tube insertion
2.2.3 | LMA insertion
2.2.4 | Sellick Maneuver
2.2.5 | Bilateral and unilateral chest rise and fall with positive pressure ventilation
2.2.6 | Right mainstem intubation
2.2.7 | Suctioning
2.2.8 | Variable lung resistance
2.2.9 | Gastric tube insertion
2.2.10 | Stomach distention
2.2.11 | Lung Recruitment Maneuver
2.3 | Breathing Features:
2.3.1 | Spontaneous breathing with variable rate and depth
2.3.2 | Bilateral and unilateral chest rise and fall
2.3.3 | Normal and abnormal breath sounds
2.3.4 | Anterior lung sounds
2.3.5 | Unilateral breath sounds
2.3.6 | Simulated Oxygen Saturation
2.3.7 | Unilateral thoracentisis
2.3.8 | Pneumothorax
2.4 | Vascular Features:
2.4.1 | Bilateral Intra-osseous access
2.4.2 | Simulated umbilical cord
2.4.3 | Umbilical access
2.4.4 | Simulated blood flashback on cannulation
2.5 | Circulation Features:
2.5.1 | Umbilical pulse
2.5.2 | Bilateral brachial pulse
2.5.3 | Central cyanosis
2.6 | Cardiac Features:
2.6.1 | Basic CPR training
2.7 | Other Features:
2.7.1 | Normal, blown and constricted pupils
2.7.2 | Vocal, lung and heart sounds
2.7.3 | Arms - movements and seizures
2.8 | Must come with a product user guide
2.9 | Must come in a protective case