## Sheet1
Female Femoral Vein Access Trainer
1 | DESCRIPTION
1.1 | Adult central line task training system for femoral vein access with female organs
1.2 | Compatible with ultrasound probe-guided needle insertion
2 | TECHNICAL SPECIFICATION
2.1 | Complete Female Femoral Vein Access Trainer with the following:
2.1.1 | Simulated blood for vein & arteries
2.1.2 | Alternative pads for anatomical variation (male and female interchangeable genitalia) (optional)
2.1.3 | Femoral pads / inserts with component parts
2.2 | Anatomy and Features:
2.2.1 | Must include the inguinal crease, inguinal ligament, anterior superior iliac spine, pubic tubercle and femoral pulse as anatomical landmarks (femoral region)
2.2.2 | Must have the femoral artery which is pulsatile
2.2.3 | Ultrasound must render anatomically accurate imagery of the central veins and arteries with relevant behaviour such as pulsing and compression
2.3 | Central line access procedures:
2.3.1 | Must be able to cannulate the femoral vein as a blind procedure and with ultrasound guidance
2.3.2 | Must be able to distinguish between venous and inadvertent arterial cannulation
2.3.3 | Must be able to visualise the needle and guidewire entering the vein using ultrasound
2.4 | Must come with a product user guide
2.5 | Must come in a protective case
Female Femoral Vein Access Trainer - Accessories and Consumables
1 | Simulated blood for vein & arteries
2 | Alternative pads for anatomical variation (male and female interchangeable genitalia)
3 | Femoral pads / inserts with component parts