## Sheet1
Femoral Regional Anaesthesia Trainer
1 | DESCRIPTION
1.1 | Adult femoral nerve task trainer for regional anaesthesia
1.2 | Compatible with ultrasound probe-guided needle insertion
2 | TECHNICAL SPECIFICATION
2.1 | Complete Femoral Regional Anaesthesia Trainer with the following:
2.1.1 | Simulated blood for vein & arteries
2.1.2 | Regional anaesthesia pads / inserts with component parts
2.2 | Anatomy and Features:
2.2.1 | Must include the inguinal crease, inguinal ligament, anterior superior iliac spine, pubic tubercle and femoral pulse as anatomical landmarks
2.2.2 | Internal landmarks for ultrasound imagery must include the femoral nerve, femoral artery and vein, the fascia lata and iliacalliopsoas and muscle attachment of the inguinal ligament
2.2.3 | Ultrasound must render anatomically accurate imagery of the femoral region structures
2.3 | Nerve block procedures for regional anaesthesia:
2.3.1 | Must be able to feel the needle passing through the fascial layers
2.3.2 | Must support ultrasound visualisation of the needle passing through the fascial layers
2.3.3 | Must provide feedback on needle tip positioning, proximity and verification of placement
2.3.4 | Can inject simulated anaesthetic agent
2.4 | Must come with a product user guide
2.5 | Must come in a protective case
Femoral Regional Anaesthesia Trainer - Accessories and Consumables
1 | Simulated blood for vein & arteries
2 | Regional anaesthesia pads / inserts with component parts
3 | Pump assemblies (pulse generation)
4 | Electronic feedback system for nerve proximity and penetration