## Sheet1
Shoe stretcher / fittings
Description
A tool used to stretch, modify the shape/width/length of a footwear to accommodate bunions and deformaties
Technical Specifications
It must be table mounted
Adjustable in length and width
Must be made of cast iron
Complete with set of lasts and supports
Should be a double model
Accessories:
2x set of lasts
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list