## Sheet1
Finger Goniometer (stainless steel)
Description
An instrument used to measure joint range of motion
Technical Specification
Used to measure range of motion of the fingers.
Made of stainless steel.
Must have 180 degrees scale marked in 1 degree increments that read in either direction.
Must be able to measure hyperextension of the finger (0 - 120° with hyperextension 0 - 30°)
Linear in inches and centimeters.
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list