## Sheet1
Goniometer 180° (15-20cm)
Description
An instrument used to measure joint range of motion
Technical Specification
Used to measure range of motion of medium joints of the body.
Made of durable hard plastic
Must have 0-180° scale
Must have 1-2° degree increments (Rulong)
Must have linear in inches and centimeters
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list