## Sheet1
Suspension frame
Description
A therapeutic device used to suspend weakened limbs in gravity eliminated plane with the aim to strengthen the limb.
Technical Specifications
The device must be wall mounted
Heavy duty wall suspension/mesh frames made of durable steel.
These are high quality and long-lasting.
Should conform to safety standards. Includes suspension hooks, extensions of different lengths and slings.
Size to be specified.
Method of attachment to the wall to be specified.
Wall mounted: approximately 700mm x 700mm
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list