## Sheet1
Tape Measure
Description
A set of Instrument used to test grip strength and other components of hand function
Technical Specification
Small, compact measuring tape used to measure the circumference of the digits and hand
Measures in inches and centimetres
Must be flexible to wrap around the digit/ hand
Must be retractible
Measures up to a minimum of 1 metre
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list