## Sheet1
Two point Discriminator
Description
Instrument used to test grip strength and other components of hand function
Technical Specification
Consists of two sturdy, rotating, plastic disks that are joined together
Rounded tips are spaced at standard testing intervals from 1 to 15mm apart
A 20 and 25mm spacing are also given
One disk setting tests from 1 to 8mm. To change to the 9 to 15mm disk setting, simply rotate the top disk until it clicks in place.
Instructions included
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list