## Sheet1
Balance Foam Pad
Description
A device used for standing balance training
Technical Specification
The unit shall be manufactured from a dense closed cell foam that is antibacterial and water impermeable.
Dimensions (LxWxD) shall be at least 50cm x 40cm x 5cm
The unit shall be light weight ≤800grams
The unit shall have a non-slip surface
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list