## Sheet1
Saddle Stool, Mobile
Description
A seating device used for optimal positioning of the therapist
Technical Specification
The unit shall be a mobile saddle stool
The unit shall be height adjustable (approximately 53cm - 73cm)
The unit shall have 5 castors
The seat shall be saddle shaped
The seat shall be covered with vinyl or leather
Accessories
Replaceable castors
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list