## Sheet1
A Set of 7 Physiotherapy Balls
Description
Anti-burst exercise ball used for rehabilitation
Technical Specification
A set of 7 Physiotherapy balls shall be supplied in the following diameters:
A: 45cm
B: 55cm
C: 65cm
D: 75cm
E: 85cm
F: 95cm
G: 120cm
Each size of ball shall be priced individually
Different sizes balls can be procured separately as single units
The unit shall have anti-burst technology
The unit shall be manufactured from durable brightly coloured PVC with a slip resistant ribbed surface
The unit shall be easily inflatable
The unit shall be easy to clean
A pump shall be supplied with each set of balls
A minimum of 2 plugs
Accessories:
Ball Pump
2 Plugs
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list