## Sheet1
Nail Chisel
Description
An instrument that is characteristically shaped cutting edge of blade on is end, for carving or cutting a toe nail
Technical Specifications
Autocavable
Re-usable
1. stainless steel, 1mm angled blade, 13.5cm
2. stainless steel, 2mm angled blade, 13.5cm
3. stainless steel, 3mm angled blade, 13.5cm
4. stainless steel, 4mm angled blade, 13.5cm
5. stainless steel, 1mm swan neck blade, 15cm
6. stainless steel, 2mm swan neck blade, 15cm
7. stainless steel, 3mm swan neck blade, 15cm
8. stainless steel, 4mm swan neck blade, 15cm
9. stainless steel, 1mm straight blade, 14cm
10. stainless steel, 2mm straight blade, 14cm
11. stainless steel, 3mm straight blade, 14cm
12. stainless steel, 4mm straight blade, 14cm
13. stainless steel, 1mm angled blade, 11.5cm
14. stainless steel, 2mm angled blade, 11.5cm
15. stainless steel, 3mm angled blade, 11.5cm
16. stainless steel, 4mm angled blade, 11.5cm
17. titanium, 1mm swan neck blade, 15cm
18. titanium, 2mm swan neck blade, 15cm
19. titanium, 3mm swan neck blade, 15cm
20. titanium, 4mm swan neck blade, 15cm
21. titanium, 1mm straight blade, 14cm
22. titanium, 2mm straight blade, 14cm
23. titanium, 3mm straight blade, 14cm
24. titanium, 4mm straight blade, 14cm
25. titanium, 1mm angled blade, 13.5cm
26. titanium, 2mm angled blade, 13.5cm
27. titanium, 3mm angled blade, 13.5cm
28. titanium, 4mm angled blade, 13.5cm
29. titanium, 1mm angled blade, 11.5cm
30. titanium, 2mm angled blade, 11.5cm
31. titanium, 3mm angled blade, 11.5cm
32. titanium, 4mm angled blade, 11.5cm
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list