## Sheet1
Nail Nipper
Description
Cutting instrument used in the management of toe nails
Technical Specifications
Non slippery handle, corrugated or equivalent design
Autoclavable
Springs:
double replaceable springs
separately priced
attachable on both handles with a stainless screw
screw removable with a flat or standard screw driver, if not supplier must supply the necessary screw driver
without a handle lock mechanism
1. stainless steel autoclavable, fine pointed, long thin tip, small, 10 cm - 12 cm.
2. stainless steel autoclavable, fine pointed, long thin tip, medium, 12,5cm-14cm
3. stainless steel autoclavable, fine pointed, long thin tip, large, 15cm-16cm
4. stainless steel autoclavable, rounded, concave jaw, small, 10 cm - 12 cm.
5. stainless steel autoclavable, rounded, concave jaw, medium, 12.5cm-14cm
6. stainless steel autoclavable, rounded, concave jaw, large, 14.5-16cm
7. stainless steel autoclavable, sharp straight, small 10 cm - 12 cm.
8. stainless steel autoclavable, sharp straight, medium, 12.5cm-14cm
9. stainless steel autoclavable, sharp straight, large, 14.5cm-16cm
10. stainless steel autoclavable, corner, straight, triangle pinted jaw, small, 10 cm - 12 cm.
11. stainless steel autoclavable, corner, straight, triangle pinted jaw, medium, 12.5cm-14cm
12. stainless steel autoclavable, corner, straight, triangle pinted jaw, large, 14.5cm-16cm
13. stainless steel autoclavable, corner, classic jaw, small, 10 cm - 12 cm.
14. stainless steel autoclavable, corner, classic jaw, medium, 12.5cm-14cm
15. stainless steel autoclavable, corner, classic jaw, large, 14.5cm-16cm
16. titanium, fine sharp, straight, 10cm
17. stainless steel, corner, straight, triangle pointed jaw, 15cm
18. titanium, corner, classic jaw, 11cm
19. titanium, rounded, concave jaw, small, 10 cm - 12 cm.
20. titanium, rounded, concave jaw, medium, 12.5cm-14cm
21. titanium, rounded, concave jaw, large, 14.5cm-16cm
22. titanium, fine pointed, long thin small tip, 11.5cm
Accessories:
screw driver
spring
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list