## Sheet1
Scissors
Description
Technical Specification
1. stainless steel, sharp straight, small, 10cm-12cm
2. stainless steel, sharp straight, medium, 12.5cm-14cm
3. stainless steel, sharp straight, large, 14.5cm-16cm
3. stainless steel, blunt straight, small, 10cm-12cm
4. stainless steel, blunt straight, medium, 12.5cm-14cm
5. stainless steel, blunt straight, large, 14.5cm-16cm
6. stainless steel, sharp curved, small, 10cm-12cm
7. stainless steel, sharp curved, medium, 12.5cm-14cm
8. stainless steel, sharp curved, large, 14.5cm-16cm
9. stainless steel, blunt curved, small, 10cm-12cm
10. stainless steel, blunt curved, medium, 12.5cm-14cm
11. stainless steel, blunt curved, large, 14.5cm-16cm
12. stainless steel, angled serrated blades, heavy duty, 17cm-20cm
13. stainless steel, side bent shears, heavy duty, 17cm-20cm
14. titanium, sharp straight, small, 10cm-12cm
15. titanium, sharp straight, medium, 12.5cm-14cm
16. titanium, sharp straight, large, 14.5cm-16cm
17. titanium, blunt straight, small, 10cm-12cm
18. titanium, blunt straight, medium, 12.5cm-14cm
19. titanium, blunt straight, large, 14.5cm-16cm
20. titanium, sharp curved, small, 10cm-12cm
21. titanium, sharp curved, medium, 12.5cm-14cm
22. titanium, sharp curved, large, 14.5cm-16cm
23. titanium, blunt curved, small, 10cm-12cm
24. titanium, blunt curved, medium, 12.5cm-14cm
25. titanium, blunt curved, large, 14.5cm-16cm
26. titanium, angled serrated blades, heavy duty, 17cm-20cm
27. titanium, side bent shears, heavy duty, 17cm-20cm
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list