## Sheet1
Thwaites
Description
An instrument with one sharp Jaw and one flat jaw.Flat jaw is used for removing the section of the nail and the sharp jaw is used for cutting the nail out.
Technical Specifications
Autoclavable
Springs:
double Replaceable springs
separately priced
attachable on both handles with a stainless screw
screw removable with a flat or standard screw driver, if not supplier must supply the necessary screw driver
without a handle lock mechanism
1. stainless steel, small, 10cm-12cm
2. stainless steel, medium, 12.5cm-14cm
3. stainless steel, large, 14.5cm-16cm
4. stainless steel, small, 10cm-12cm
5. stainless steel, medium, 12.5cm-14cm
6. stainless steel, large, 14.5cm-16cm
7. titanium, splitter, fine point, 14cm
8. titanium, splitter, fine point, 14.5cm
Accessories:
screw driver
spring
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list