## Sheet1
Toe Spreader
Description
Technical Specifications
1. stainless steel, straight flat, round head, 13cm
2. stainless steel, curved rectangular blade, small
3. stainless steel, curved rectangular blade, large
4. titanium, straight flat, round head, 13cm
5. titanium, curved rectangular blade, small
6. titanium, curved rectangular blade, large
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list