## Sheet1
Wind-up toy
Description
A therapeutic toy used for children's therapy
Technical Specification
Toy must be at least 5cm x 5cm x 5cm in size
Must be made of durable coloured plastic
Wind-up mechanism must be durable
Activation of toy must result in activity of interest to a child, e.g. movement, sound, lights
Toy must be washable and/or impervious to disinfectant
Toy must have no loose parts
All accessories and consumables must be supplied standard with the unit
A separate price of each accessory and consumables listed above must also be supplied with this offer
Any other additional accessories, consumables and spare parts not listed above but applicable for the functionality of the unit must be supplied on a separate price list
CONSUMABLES
List all the consumables required for full operation of the equipment, with prices